## L1-Embedded Devices
Device Name | Date of Certification | Model Number | Firmware Version | Additional Protocols | Notes
Foxboro I/A Series FCP270 | 2009-06-01 | FCP270 | 843009 | N/A | N/A
Foxboro I/A Series ZCP270 | 2009-09-01 | ZCP270 | 843020 | N/A | N/A
Tricon 10.3 | 2007-03-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.3.1 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.3.2 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.3.3 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.3.4 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.4 | 2009-06-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.4.1 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.4.2 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.4.3 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.4.4 | 2011-11-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6241 | N/A | N/A
Tricon 10.5 | 2009-06-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6272 | N/A | N/A
Tricon 10.5.1 | 2010-05-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6276 | N/A | N/A
Tricon 10.5.2 | 2011-01-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6276 | N/A | N/A
Tricon 10.5.3 | 2011-11-01 | 4351 A/B, 4352 A/B, 4353, 4354 | 6276 | N/A | N/A
Tricon TCM 10.5.4 | 2011-07-01 | 4353 OPC TCM / 4354 OPC TCM / 4351 A/B TCM / 4352 A/B TCM | 6289 | MODBUS/TCP | N/A
Trident 2.0.1 | 2008-11-01 | 3101 / 3201 | LSX: 235 / LCM: 245 | MODBUS/TCP | N/A
Trident 2.0.3 | 2011-03-01 | 3101 / 3201 | LSX: 235 / LCM: 374 | MODBUS/TCP | N/A
Trident 2.1.0 | 2009-08-01 | 3101 / 3201 | LSX: 292 / LCM: 245 | MODBUS/TCP | N/A
Trident 2.1.1 | 2008-11-01 | 3101 / 3201 | LSX: 335 / LCM: 245 | MODBUS/TCP | N/A
Trident 2.1.2 | 2010-12-01 | 3101 / 3201 | LSX: 335 / LCM: 370 | MODBUS/TCP | N/A
Trident 2.1.2 | 2011-03-01 | 3101 / 3201 | LSX: 335 / LCM: 374 | MODBUS/TCP | N/A
Trident 2.2 | 2011-05-01 | 3101 / 3201 | LSX: 399 / LCM: 374 | MODBUS/TCP | N/A
Trident V3.0 | 2012-08-01 | 3101/3201/3211 | LSX 464/LCM 374/CIM/TCOM 468 | MODBUS/TCP, TSAA | N/A
Trident V3.0 | 2013-04-01 | 3101/3201/3211 | LSX 483/LCM 374/CIM/TCOM 506 | MODBUS/TCP | N/A
Trident 3.0 | 2013-05-01 | 3101/3201/3211 | LSX 483/LCM 374/CIM/TCOM 511 | MODBUS/TCP | N/A
Tri-GP 2.1.2 | 2011-03-01 | 3101S2 / 3201S2 | LSX: 335 / LCM: 374 | MODBUS/TCP | N/A
Tri-GP 2.2 | 2011-05-01 | 3101S2 / 3201S2 | LSX: 399 / LCM: 374 | MODBUS/TCP | N/A
Tri-GP 3.0 | 2012-08-01 | 3101S2 / 3201S2 / 3211S2 | LSX 464/LCM 374/CIM/TCOM 468 | MODBUS/TCP, TSAA | N/A
Tri-GP 3.0 | 2013-04-01 | 3101S2 / 3201S2 / 3211S2 | LSX 483/LCM 374/CIM / TCOM 506 | MODBUS/TCP | N/A
Tri-GP 3.0 | 2013-05-01 | 3101S2 / 3201S2 / 3211S2 | LSX 483/LCM 374/CIM / TCOM 511 | MODBUS/TCP | N/A

## L1-Host Based Devices
Device Name | Date of Certification | Hardware Number | Software Version | Additional Protocols | Notes
Foxboro WSTA70 Application Workstation Windows 7 | 2013-08-01 | Foxboro H92 | I/A Series version 8.8 | N/A | N/A
Foxboro WSVR70 Application Server 2008 | 2013-08-01 | Foxboro H90 | I/A Series version 8.8 | N/A | N/A