## L2-Embedded Devices
Device Name | Date of Certification | Model Number | Firmware Version | Additional Protocols | Notes | Hardware
Altivar Process 340 Series | 2016-09-01 | ATV340UxxN4 (xx=07,15,22,30,40,55,75) ATV340UxxN4E (xx=07,15,22,30,40,55,75) ATV340DxxN4 (xx=11,15,18,22) ATV340DxxN4E (xx=11,15,18,22,30,37,45,55,75) | V1.1 IExx | N/A | N/A | PCBA Version AEV81534 / 81538
Altivar Process 600 Series Product Family | 2016-05-01 | ATV630Uxxyy (xx=07,15,22,30,40,55,75; yy=N4,M3) ATV630DxxM3 (xx=11,15,18,22,30,37,45 55,75) ATV630DxxN4 (xx=11,15,18,22,30,37,45,55,75,90) ATV630CxxN4 (xx=11,13,16,22,25,31) ATV630CxxN4F (xx=11,13,16,20,25,31) ATV650Uxxyy (xx=07,15,22,30,40,55,75; yy=N4,N4E, N4U,N4EU) ATV650Dxxyy (xx=11,15,18,22,30,37,45,55,75,90; yy=N4, N4E, N4U) ATV650CxxN4F (xx=11,13,16,20,25,31) ATV650DxxN4EU (xx: 11, 15, 18, 22, 30, 37, 45, 55) ATV660Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80,90; yy=Q4,R4,T4,N5,X6,Y7) ATV660M10yy (yy=Q4,R4,T4) ATV680Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80,90; yy=Q4,R4,T4,N5,X6,Y7) ATV680M10yy (yy=Q4,R4,T4) ATV660Mxxyy (xx=11,12,13,14,15,16,17,18,19,20,21,22,23,24; yy=N5,X6,Y7) ATV680Mxxyy (xx=11,12,13,14,15,16,17,18,19,20,21,22,23,24; yy=N5,X6,Y7) | V1.5 Iexx | N/A | N/A | PCBA Version EAV36028 (Embedded Basic Ethernet) PCBA Version EAV81534 / 81538 (Advanced Ethernet option)
Altivar Process 900 Series Product Family | 2015-09-01 | ATV930Uxxyy (xx=07, 15,22,30,40,55,75; yy=N4,M3) ATV930DxxM3 (xx=11,15,18,22,30,37,45) ATV930DxxM3C (xx=30,37,45,55,75) ATV930DxxN4 (xx=11,15,18,22,30,37,45,55,75,90) ATV930DxxN4C (xx=55,75,90) ATV930CxxN4F (xx=11,13,16,20,25,31) ATV930CxxN4C (xx=11,13,16) ATV950Uxxyy (xx=07,15,22,30,40,55,75; yy=N4,N4E) ATV950Dxxyy (xx=11,15,18,22,30,37,45,55,75,90; yy=N4,N4E) ATV950CxxN4F (xx=11,13,16,20,25,31) ATV960Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80; yy=Q4,R4,T4,N5,X6,Y7) ATV960Mxxyy (xx=10,12,14,16; yy=N5,X6,Y7) ATV980Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80; yy=Q4,R4,T4,N5,X6,Y7) ATV980Mxxyy (xx=10,12,14,16; yy=N5,X6,Y7) | V1.1 Iexx | N/A | N/A | PCBA Version NHA 37570
Altivar Process 900 Series | 2016-05-01 | ATV930Uxxyy (xx=07,15,22,30,40,55,75; yy=N4,M3) ATV930DxxM3 (xx=11,15,18,22,30,37,45) ATV930DxxM3C (xx=30,37,45,55,75) ATV930DxxN4 (xx=11,15,18,22,30,37,45,55,75,90) ATV930DxxN4C (xx=55,75,90) ATV930CxxN4F (xx=11,13,16,20,25,31) ATV930CxxN4C (xx=11,13,16) ATV950Uxxyy (xx=07,15,22,30,40,55,75; yy=N4,N4E) ATV950Dxxyy (xx=11,15,18,22,30,37,45,55,75,90; yy=N4, N4E) ATV950CxxN4F (xx=11,13,16,20,25,31) ATV960Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80; yy=Q4,R4,T4) ATV960Mxxyy (xx=10; yy=Q4,R4,T4) ATV980Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80; yy=Q4,R4,T4) ATV980Mxxyy (xx=10; yy=Q4,R4,T4) ATV960Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80,90; yy=N5,X6,Y7) ATV980Cxxyy (xx=11,13,16,20,25,31,35,40,45,50,56,63,71,80,90; yy=N5,X6,Y7) ATV960Mxxyy (xx=10,11,12,13,14,15,16,17,18,19,20,21,22,23,24; yy=N5,X6,Y7) ATV980Mxxyy (xx=10,11,12,13,14,15,16,17,18,19,20,21,22,23,24; yy=N5,X6,Y7) | V1.2 IExx | N/A | N/A | N/A
Field Control Processor | 2015-04-01 | FCP280 | 91001 | N/A | N/A | 0B
Modicon M580 BMENOC0311 | 2014-06-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BMENOC0311C | 2014-06-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BMENOC0301 | 2014-06-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BMENOC0301C | 2014-06-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BME P58 1020 | 2013-12-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BME P58 2020 | 2013-12-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BME P58 3020 | 2013-12-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BME P58 4020 | 2013-12-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BME P58 2040 | 2013-12-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BME P58 3040 | 2013-12-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BME P58 4040 | 2013-12-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 CPU Product Family BMEP581020 BMEP582020 BMEP582040 BMEP583020 BMEP583040 BMEP584020 BMEP584040 | 2015-08-01 | PV:06 | V2.xx | N/A | N/A | N/A
Modicon M580 CPU Product Family BMEP585040 BMEP586040 | 2015-10-01 | PV:01 | V2.xx | N/A | N/A | N/A
Modicon M580 CPU Product Family BMEH582040 BMEH584040 BMEH586040 | 2015-11-01 | PV:01 | V2.xx | N/A | This certification applies to the devices as configured in Distributed IO (DIO) mode. | N/A
Modicon M580 BMENOC Product Family Modicon M580 BMENOC0301 Modicon M580 BMENOC0301C Modicon M580 BMENOC0311 Modicon M580 BMENOC0311C | 2015-07-01 | PV:04 | V2.xx | N/A | N/A | N/A
Tricon TCM | April 2016 / May 2016 / May 2015 / December 2015 / October 2017 |  | System 10.5. / System 10.6. / System 11.1. / System 11.2. / System 11.3 | Modbus/TCP | N/A | Triconex 4351A/B/BC, 4352A/B/BC
Foxboro Evo SCD6000 | 2017-02-01 | SY-60399001R SY-60399002R | SY-1101207_D | N/A | N/A | N/A
Tricon CX Communication Module | 2018-01-01 | TCM 4355X/UCM 4610X | 11.3.x | Modbus/TCP | N/A | N/A
ALTIVAR Process Medium Voltage ATV6000 | 2019-01-01 | ATV6000 | V1.1.IExx | N/A | N/A | N/A
M580 Hot Standby CPU | 2019-05-19 | BMEH586040S BMEH582040S BMEH584040S | V2.80 IR11 | N/A | N/A | PV1
CIM | 2019-07-01 | Triconex Trident/Tri-GP, 3211/3211S2 | CIM TCOM547 | Modbus | N/A | N/A

## L2-Network Devices
Device Name | Date of Certification | Model Number | Firmware Version | Additional Protocols | Notes | Hardware
Modicon M580 BMENOS0300 (Network Option Switch) | 2016-05-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BMENOC0321 | 2016-07-01 | PV:01 | V1.xx | N/A | N/A | N/A
Modicon M580 BMENOP0300 | April 2017/November 2017 | BMENOP0300 | V 1.xx/V 2.xx | N/A | N/A | N/A
TeSys island Bus Coupler | 2019-06-01 | TPRBCEIP | TeSysisland_ 001.100.xxx.sdp | N/A | N/A | N/A
TeSys island Bus Coupler | 2020-03-19 | TPRBCEIP TPRBCPFN TPRBCPFB | tESysisland_ 002.100.xxx.sedp | N/A | N/A | 1

## L1-Embedded Devices
| Device Name | Date of Certification | Model Number | Firmware Version | Additional Protocols | Notes | Hardware
| Eurotherm EPC 3000 Programmable Controller | 2017-04-01 | EPC3004 EPC3008 EPC3016 | V 2.xx | N/A | N/A | N/A
| Modicon M241 Logic Controller | 2016-12-01 | TM241C24R + TM4ES4 TM241C24T + TM4ES4 TM241C24U + TM4ES4 TM241C40R + TM4ES4 TM241C40T + TM4ES4 TM241C40U + TM4ES4 TM241CE24R TM241CE24T TM241CE24U TM241CE40R TM241CE40T TM241CE40U TM241CEC24R TM241CEC24T TM241CEC24U TM241CE24R + TM4ES4 TM241CE24T + TM4ES4 TM241CE24U + TM4ES4 TM241CE40R + TM4ES4 TM241CE40T + TM4ES4 TM241CE40U + TM4ES4 | SV=4.0.5.x | N/A | N/A | N/A
| SCADAPack 530E rPAC and SCADAPack 535E rPAC | 2016-03-01 | TBUP530-EA56-AA00S, TBUP530-EA56-AA00U, TBUP530-EA56-AA00X, TBUP535-EA56-AB00S, TBUP535-EA56-AB10S, TBUP535-EA56-BB00S, TBUP535-EA56-BB10S, TBUP535-EA56-AB00U, TBUP535-EA56-AB10U, TBUP535-EA56-BB00U, TBUP535-EA56-BB10U, TBUP535-EA56-AB00X, TBUP535-EA56-AB10X, TBUP535-EA56-BB00X, TBUP535-EA56-BB10X | 8.13.x | N/A | N/A | 3.02
| Field Control Processor | 2014-06-01 | FCP280 | 90022 | N/A | N/A | 0B
| Energy Server Com'X 200 | 2014-03-01 | 3.8.3 | V1.0.x | N/A | N/A | N/A
| MiCOM C264 | 2016-02-01 | 2070643 B5 | D1.xx | N/A | N/A | N/A
| MiCOM P14x Protection Relay Series | 2016-01-01 | MiCOM P141 Protection Relay MiCOM P142 Protection Relay MiCOM P143 Protection Relay MiCOM P145 Protection Relay | 1.xx | N/A | N/A | N/A
| Modicon M251 TM251MESE | 2016-01-01 | N/A | SV = 4.0.4.x* | N/A | * for x > 13 | FV = 02 RL = 03
| PacDrive LMC Motion Controller – LMC ECO Device Family | 2017-06-01 | LMC100CAA10000 LMC101CAA10000 LMC106CAA10000 LMC201CAA10000 LMC212CAA10000 LMC216CAA10000 | 1.56.x.y | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC PRO Device Family | 2017-06-01 | LMC300CAA10000 LMC300CBB10000 LMC300CBC10000 LMC300CBD10000 LMC300CBG10000 LMC300CBI10000 LMC300CBL10000 LMC300CCA10000 LMC300CCB10000 LMC300CCC10000 LMC300CCD10000 LMC300CCG10000 LMC300CCI10000 LMC300CCL10000 LMC400CAA10000 LMC400CBB10000 LMC400CBC10000 LMC400CBD10000 LMC400CBG10000 LMC400CBI10000 LMC400CBL10000 LMC400CCA10000 LMC400CCB10000 LMC400CCC10000 LMC400CCD10000 LMC400CCG10000 LMC400CCI10000 LMC400CCL10000 LMC600CAA10000 LMC600CBB10000 LMC600CBC10000 LMC600CBD10000 LMC600CBG10000 LMC600CBI10000 LMC600CBL10000 LMC600CCA10000 LMC600CCB10000 LMC600CCC10000 LMC600CCD10000 LMC600CCG10000 LMC600CCI10000 LMC600CCL10000 | 1.56.x.y | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC PRO2 Device Family | 2017-06-01 | LMC302CAA10000 LMC302CBB10000 LMC302CBC10000 LMC302CBD10000 LMC302CBG10000 LMC302CBI10000 LMC302CBL10000 LMC302CCA10000 LMC302CCB10000 LMC302CCC10000 LMC302CCD10000 LMC302CCG10000 LMC302CCI10000 LMC302CCL10000 LMC402CAA10000 LMC402CBB10000 LMC402CBC10000 LMC402CBD10000 LMC402CBG10000 LMC402CBI10000 LMC402CBL10000 LMC402CCA10000 LMC402CCB10000 LMC402CCC10000 LMC402CCD10000 LMC402CCG10000 LMC402CCI10000 LMC402CCL10000 LMC802CAA10000 LMC802CBB10000 LMC802CBC10000 LMC802CBD10000 LMC802CBG10000 LMC802CBI10000 LMC802CBL10000 LMC802CCA10000 LMC802CCB10000 LMC802CCC10000 LMC802CCD10000 LMC802CCG10000 LMC802CCI10000 LMC802CCL10000 | 1.56.x.y | N/A | N/A | N/A
| Eurotherm T2750 PAC | 2018-06-01 | Zero-Way Base 4-Way Base 8-Way Base 16-Way Base | V5.xx | N/A | N/A | N/A
| Foxboro Control Network Interface (CNI) | 2018-11-12 | RH100FP | 94009 | N/A | N/A | N/A
| Eurotherm EPC3000 Programmable Controller | 2018-09-01 | EPC3004 EPC3008 EPC3016 | V 3.xx | N/A | N/A | N/A
| Eurotherm EPC2000 | 2018-07-01 | Communicating PID controller with analogue and discrete I/O and Ethernet/RS485 communications | V2.xx | N/A | N/A | N/A
EXIDA EDSA Certification | FDC280 | 2018-12-01 | FDC280 | S901032000 0901003000 | N/A | N/A | N/A
| ION9000 | 2019-05-19 | PM9000 Series | 002.001.000
| Modicon M262 Logic/Motion Controller | 2019-06-01 | TM262L10MESE8T TM262L20MESE8T TM262M15MESS8T TM262M25MESS8T TM262M35MESS8T | 5.0.1.xx | N/A | N/A | N/A
| Modicon M241 Logic Controller | 2019-06-01 | TM241CE24R TM241CE24T TM241CE24U TM241CE40R TM241CE40U TM241CEC24R TM241CEC24T TM241CEC24U TM241CE40T | 5.0.7.xx | N/A | N/A | N/A
| Modicon M251 Logic Controller | 2019-06-01 | TM251MESE TM251MESC | 5.0.7.xx | N/A | N/A | N/A
| Modicon M262 Logic/Motion Controller | 2019-06-01 | TM262L10MESE8T TM262L20MESE8T TM262M15MESS8T TM262M25MESS8T TM262M35MESS8T | 5.0.2.xx | N/A | N/A | N/A
| Easergy P5x Protection Relay Series | 2019-06-01 | Easergy P5U20 Easergy P5V20 Easergy P5F30 Easergy P5M30 | V01.xxx.yyy | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC ECO Controllers | 2019-08-19 | LMC100CAA10000 LMC101CAA10000 LMC106CAA10000 LMC201CAA10000 LMC212CAA10000 LMC216CAA10000 | 1.60.x.y | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC PRO Device Family | 2019-08-19 | LMC300CAA10000 LMC300CBB10000 LMC300CBC10000 LMC300CBD10000 LMC300CBG10000 LMC300CBI10000 LMC300CBL10000 LMC300CCA10000 LMC300CCB10000 LMC300CCC10000 LMC300CCD10000 LMC300CCG10000 LMC300CCI10000 LMC300CCL10000 LMC400CAA10000 LMC400CBB10000 LMC400CBC10000 LMC400CBD10000 LMC400CBG10000 LMC400CBI10000 LMC400CBL10000 LMC400CCA10000 LMC400CCB10000 LMC400CCC10000 LMC400CCD10000 LMC400CCG10000 LMC400CCI10000 LMC400CCL10000 LMC600CAA10000 LMC600CBB10000 LMC600CBC10000 LMC600CBD10000 LMC600CBG10000 LMC600CBI10000 LMC600CBL10000 LMC600CCA10000 LMC600CCB10000 LMC600CCC10000 LMC600CCD10000 LMC600CCG10000 LMC600CCI10000 LMC600CCL10000 | 1.60.x.y | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC PRO2 Device Family | 2019-08-19 | LMC302CAA10000 LMC302CBB10000 LMC302CBC10000 LMC302CBD10000 LMC302CBG10000 LMC302CBI10000 LMC302CBL10000 LMC302CCA10000 LMC302CCB10000 LMC302CCC10000 LMC302CCD10000 LMC302CCG10000 LMC302CCI10000 LMC302CCL10000 LMC402CAA10000 LMC402CBB10000 LMC402CBC10000 LMC402CBD10000 LMC402CBG10000 LMC402CBI10000 LMC402CBL10000 LMC402CCA10000 LMC402CCB10000 LMC402CCC10000 LMC402CCD10000 LMC402CCG10000 LMC402CCI10000 LMC402CCL10000 LMC802CAA10000 LMC802CBB10000 LMC802CBC10000 LMC802CBD10000 LMC802CBG10000 LMC802CBI10000 LMC802CBL10000 LMC802CCA10000 LMC802CCB10000 LMC802CCC10000 LMC802CCD10000 LMC802CCG10000 LMC802CCI10000 LMC802CCL10000 | 1.60.x.y | N/A | N/A | N/A
| Modicon M251 Logic Controller |  | TM251MESE TM251MESC | 5.0.8.xx | N/A | N/A | N/A
| Modicon M241 Logic Controller |  | TM241CE24R TM241CE24T TM241CE24U TM241CE40R TM241CE40U TM241CEC24R TM241CEC24T TM241CEC24U TM241CE40T | 5.0.8.xx | N/A | N/A | N/A
| Epack Compact SCR Power Controller | 2020-07-20 | Epack-1PH Epack-2PH Epack-3PH | V6.xx | N/A | N/A | N/A
| Eurotherm EPC2000 Progammable PID Temperature_Process Controller | 2020-07-20 | EPC2000 | V4.xx | N/A | N/A | N/A
| Eurotherm T2750 PAC | 2020-07-20 | Zero-Way Base 4-Way Base 8-Way Base 16-Way Base | V6.xx | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC ECO Device Family | 2021-05-01 | LMC100CAA10000 LMC101CAA10000 LMC106CAA10000 LMC201CAA10000 LMC212CAA10000 LMC216CAA10000 | 1.64.x.y | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC PRO Device Family | 2021-05-01 | LMC300CAA10000 LMC300CBB10000 LMC300CBC10000 LMC300CBD10000 LMC300CBG10000 LMC300CBI10000 LMC300CBL10000 LMC300CCA10000 LMC300CCB10000 LMC300CCC10000 LMC300CCD10000 LMC300CCG10000 LMC300CCI10000 LMC300CCL10000 LMC400CAA10000 LMC400CBB10000 LMC400CBC10000 LMC400CBD10000 LMC400CBG10000 LMC400CBI10000 LMC400CBL10000 LMC400CCA10000 LMC400CCB10000 LMC400CCC10000 LMC400CCD10000 LMC400CCG10000 LMC400CCI10000 LMC400CCL10000 LMC600CAA10000 LMC600CBB10000 LMC600CBC10000 LMC600CBD10000 LMC600CBG10000 LMC600CBI10000 LMC600CBL10000 LMC600CCA10000 LMC600CCB10000 LMC600CCC10000 LMC600CCD10000 LMC600CCG10000 LMC600CCI10000 LMC600CCL10000 | 1.64.x.y | N/A | N/A | N/A
| PacDrive LMC Motion Controller – LMC PRO2 Device Family | 2021-05-01 | LMC302CAA10000 LMC302CBB10000 LMC302CBC10000 LMC302CBD10000 LMC302CBG10000 LMC302CBI10000 LMC302CBL10000 LMC302CCA10000 LMC302CCB10000 LMC302CCC10000 LMC302CCD10000 LMC302CCG10000 LMC302CCI10000 LMC302CCL10000 LMC402CAA10000 LMC402CBB10000 LMC402CBC10000 LMC402CBD10000 LMC402CBG10000 LMC402CBI10000 LMC402CBL10000 LMC402CCA10000 LMC402CCB10000 LMC402CCC10000 LMC402CCD10000 LMC402CCG10000 LMC402CCI10000 LMC402CCL10000 LMC802CAA10000 LMC802CBB10000 LMC802CBC10000 LMC802CBD10000 LMC802CBG10000 LMC802CBI10000 LMC802CBL10000 LMC802CCA10000 LMC802CCB10000 LMC802CCC10000 LMC802CCD10000 LMC802CCG10000 LMC802CCI10000 LMC802CCL10000 | 1.64.x.y | N/A | N/A | N/A
| Modicon M241 Logic Controller | 2021-05-01 | TM241CE24R TM241CE24T TM241CE24U TM241CE40R TM241CE40U TM241CEC24R TM241CEC24T TM241CEC24U TM241CE40T | 5.1.9.xx | N/A | N/A | N/A
| Modicon M251 Logic Controller | 2021-05-01 | TM251MESE TM251MESC | 5.1.9.xx | N/A | N/A | N/A

## L1-Host Based Devices
Device Name | Date of Certification | Model Number | Operating System | Additional Protocols | Notes | Hardware | Application Version
WSVR70 (Application Workstation/Server) | June 2014 / April 2015 / December 2015 / February 2017 / October 2018 | Foxboro H90 Foxboro Evo 2014 Control Core Services H90(HP Proliant DL380 Gen 9 Server) | Windows Server 2008 R2 Standard SP1 Windows Server 2008 R2 Standard SP1 Windows Server 2008 R2 Standard SP1 Windows Server 2008 R2 Standard SP1 Windows Server 2016 | N/A | N/A | Version 9.0 / Foxboro Evo 2014 Control Core Services Version 9.1 / Foxboro Evo 2014 Control Core Services Version 9.2 / Foxboro Evo 2014 Control Core Services Version 9.3 / Foxboro Evo 2014 Control Core Services Control Core Services 9.4 | N/A
WSTA70 (Application Workstation) | June 2014 / April 2015 / December 2015 / February 2017 / October 2018 | Foxboro H92 Foxboro Evo 2014 Control Core Services H92 (HP Z440 workstation) | Windows 7 Professional SP1 Windows 7 Professional SP1 Windows 7 Professional SP1 Windows 7 Professional SP1 Windows 10 operating system | N/A | N/A | Version 9.0 / Foxboro Evo 2014 Control Core Services Version 9.1 / Foxboro Evo 2014 Control Core Services Version 9.2 / Foxboro Evo 2014 Control Core Services Version 9.3 / Foxboro Evo 2014 Control Core Services control Core Services 9.4 | N/A
Magelis HMI | 2017-07-01 | EP2 (Engineering Prototype Ver.) V0.01 | Windows Embedded Standard 7 SP1 (x86) | N/A | N/A | EP2 (Engineering Prototype Ver.) V0.01 | Vijeo XD V2.4.0
Magelis HMI | 2017-07-01 | HMIG3U | WindRiver Linux 5.0.1.37 | N/A | N/A | PV:03 / RL:02 / SV:3.0 | Vijeo XD V2.4.1
Magelis HMI | 2017-12-01 | HMIG3U | WindRiver Linux 5.0.1.39 | N/A | N/A | PV:03 / RL:02 / SV:3.0 | Vijeo XD 3.0x
Pro-face HMI | 2017-12-01 | SP-5B10 | WindRiver Linux 5.0.1.39 | N/A | N/A | PV:03 / RL:02 / SV:3.0 | Vijeo XD 3.0x
Magelis HMI | 2017-12-01 | HMIG5U2 | Windows Embedded Standard 7 SP1 (x86) | N/A | N/A | PV:01 / RL:00 / SV:1.0 | N/A
Pro-face HMI | 2017-12-01 | SP-5B41 | Windows Embedded Standard 7 SP1 (x86) | N/A | N/A | PV:01 / RL:00 / SV:1.0 | N/A
H90 | 2018-10-01 | H90/HP DL380 (HP Proliant DL380 Gen 9 Server) Firmware Version 2.56 | Windows Server 2016 Standard for Embedded Systems (LTSB) | N/A | N/A | H90/HP DL380 (HP Proliant DL380 Gen 9 Server) | Control Core Services Version 9.4
H92 | 2018-10-01 | H92 (HP Z440 workstation) Firmware Version 2.41 | Windows 10 version 1607 (LTSB) | N/A | N/A | HP Z440 workstation | Control Core Services Version 9.4
Magelis HMI | 2018-11-01 | Schneider Electric brand ST6 series HMIST6200 HMIST6400 HMIST6500 HMIST6600 HMIST6700 | WindRiver Linux V 8.0 | N/A | N/A | N/A | EcoStruxure Operator Terminal Expert V3.1.x
Magelis HMI | 2018-11-01 | HMIG5U2 | Windows Embedded Standard 7 SP1 (x86) | N/A | N/A | N/A | EcoStruxure Operator Terminal Expert V3.1.x
Magelis HMI | 2018-11-01 | HMIG3U | WindRiver Linux 5.0.1.39 | N/A | N/A | N/A | EcoStruxure Operator Terminal Expert V3.1.x
Pro-face HMI | 2018-11-01 | Pro-face brand ST6000 series PFXST6200WAD PFXST6400WAD PFXST6500WAD PFXST6600WAD PFXST6700WAD | WindRiver Linux V 8.0 | N/A | N/A | N/A | BLUE V3.1.x
Pro-face HMI | 2018-11-01 | SP-5B41 | Windows Embedded Standard 7 SP1 (x86) | N/A | N/A | N/A | BLUE V3.1.x
Pro-face HMI | 2018-11-01 | SP-5B10 | WindRiver Linux 5.0.1.39 | N/A | N/A | N/A | BLUE V3.1.x
Pro-face HMI and Magelis HMI | 2019-02-19 | PFXSTW6200WAD PFXSTW6500WAD PFXSTW6700WAD HMISTW6400 HMISTW6600 PFXSTW6400WAD PFXSTW6600WAD HMISTW6200 HMISTW6500 HMISTW6700 | WindRiver Linux V 8.0 | N/A | N/A | N/A | V1.0xx

## L1-Network Devices
Device Name | Date of Certification | Model Number | Firmware Version | Additional Protocols | Notes | Hardware
Foxboro Control Network Interface | October 2015 / February 2017 | RH100PF | 092065/ 093040 | N/A | N/A | 0B/OC
Modicon TM3 Bus Coupler TM3BCEIP | 2019-05-01 | TM3BCEIP | 1.1 | N/A | N/A | N/A